## Slide 1: skysparkEDA_0117
Yujie Xu

## Slide 2: Tasks completed
  Downloaded the set of completed sparks
  Downloaded ION domestic water data
  Augmented the previous analysis with building area

## Slide 3: Presence of energy and water data
building | Domestic H2O Int gal | kWh Del Int | kWh del-rec Int | kWh Rec Int | Natural Gas Vol Int
CA0305ZZ | 0 | 0 | 0 | 0 | 0
CA0306ZZ | 0 | 1 | 0 | 0 | 0
CO0009ZZ | 1 | 1 | 0 | 1 | 0
CO0054ZZ | 0 | 1 | 0 | 1 | 0
CO0061ZZ | 0 | 1 | 0 | 1 | 0
CO0516AA | 0 | 0 | 0 | 0 | 0
DC0010ZZ | 0 | 1 | 0 | 1 | 0
DC0021ZZ | 0 | 1 | 0 | 1 | 0
DC0033ZZ | 0 | 0 | 0 | 0 | 0
DC0034ZZ | 0 | 0 | 0 | 0 | 0
DC0083ZZ | 0 | 1 | 0 | 1 | 0
DC0084ZZ | 0 | 1 | 0 | 1 | 0

## Slide 4
building | Domestic H2O Int gal | kWh Del Int | kWh del-rec Int | kWh Rec Int | Natural Gas Vol Int
DC0084ZZ | 0 | 1 | 0 | 1 | 0
DC1473SE | 0 | 0 | 0 | 0 | 0
FL0067ZZ | 0 | 1 | 1 | 0 | 1
GA0010AE | 0 | 1 | 1 | 0 | 1
GA1007ZZ | 0 | 1 | 0 | 0 | 1
IA0112ZZ | 0 | 1 | 0 | 1 | 1
IA0121ZZ | 0 | 1 | 0 | 1 | 1
IL0032ZZ | 0 | 1 | 0 | 1 | 1
IL0205ZZ | 0 | 1 | 0 | 1 | 1
IL0235FC | 0 | 1 | 0 | 0 | 0
IL0236FC | 0 | 1 | 0 | 1 | 0
IL0303ZZ | 0 | 1 | 0 | 1 | 0

## Slide 5
building | Domestic H2O Int gal | kWh Del Int | kWh del-rec Int | kWh Rec Int | Natural Gas Vol Int
IL0303ZZ | 0 | 1 | 0 | 1 | 0
IN0048ZZ | 0 | 1 | 0 | 1 | 0
IN0133ZZ | 0 | 1 | 0 | 1 | 0
IN1703ZZ | 0 | 1 | 0 | 1 | 1
KS0094ZZ | 0 | 1 | 0 | 1 | 0
LA0085ZZ | 0 | 1 | 0 | 0 | 1
MA0131ZZ | 0 | 1 | 0 | 1 | 0
MA0153ZZ | 0 | 1 | 0 | 0 | 1
MD0278ZZ | 0 | 0 | 0 | 0 | 0
MD0767AG | 0 | 0 | 0 | 0 | 0
MI0029ZZ | 0 | 1 | 0 | 1 | 0
MN0087ZZ | 1 | 1 | 0 | 1 | 0

## Slide 6
building | Domestic H2O Int gal | kWh Del Int | kWh del-rec Int | kWh Rec Int | Natural Gas Vol Int
MN0087ZZ | 1 | 1 | 0 | 1 | 0
MO0050ZZ | 0 | 1 | 0 | 1 | 0
MO0095ZZ | 0 | 1 | 0 | 1 | 0
MS0083ZZ | 0 | 0 | 0 | 0 | 0
NC0002AE | 0 | 1 | 1 | 0 | 1
ND0006ZZ | 0 | 1 | 0 | 1 | 1
ND0046ZZ | 0 | 1 | 0 | 1 | 1
NE0036ZZ | 0 | 1 | 0 | 0 | 0
NE0051ZZ | 0 | 1 | 0 | 1 | 0
NE0531ZZ | 0 | 1 | 0 | 1 | 1
NM0030ZZ | 0 | 1 | 0 | 0 | 1
NM0050ZZ | 0 | 1 | 0 | 0 | 1

## Slide 7
building | Domestic H2O Int gal | kWh Del Int | kWh del-rec Int | kWh Rec Int | Natural Gas Vol Int
NM0050ZZ | 0 | 1 | 0 | 0 | 1
NM0061ZZ | 0 | 0 | 0 | 0 | 0
NV0304ZZ | 0 | 1 | 1 | 0 | 0
NY0128ZZ | 1 | 1 | 0 | 0 | 0
NY0281ZZ | 0 | 1 | 0 | 1 | 1
NY0282ZZ | 0 | 0 | 0 | 0 | 0
NY0300ZZ | 0 | 1 | 0 | 1 | 1
NY0304ZZ | 0 | 1 | 0 | 1 | 0
OH0028CN | 0 | 1 | 0 | 1 | 1
OH0033ZZ | 0 | 1 | 0 | 1 | 1
OH0046ZZ | 0 | 1 | 0 | 1 | 1
OH0189CN | 0 | 1 | 0 | 1 | 0

## Slide 8
building | Domestic H2O Int gal | kWh Del Int | kWh del-rec Int | kWh Rec Int | Natural Gas Vol Int
OH0189CN | 0 | 1 | 0 | 1 | 0
OH0192ZZ | 0 | 1 | 0 | 0 | 1
OH0194ZZ | 0 | 1 | 0 | 1 | 1
OK0046CT | 0 | 1 | 0 | 0 | 0
OK0101ZZ | 0 | 1 | 0 | 0 | 0
OR0033PE | 0 | 1 | 0 | 1 | 1
OR0043ZZ | 0 | 1 | 0 | 1 | 0
OR0052ZZ | 0 | 0 | 0 | 0 | 1
PA0277BG | 0 | 0 | 0 | 0 | 0
PA0278BG | 0 | 0 | 0 | 0 | 0
TN0088ZZ | 0 | 1 | 0 | 0 | 1
TX0057ZZ | 0 | 1 | 0 | 0 | 1

## Slide 9
building | Domestic H2O Int gal | kWh Del Int | kWh del-rec Int | kWh Rec Int | Natural Gas Vol Int
TX0057ZZ | 0 | 1 | 0 | 0 | 1
TX0058DA | 0 | 0 | 0 | 0 | 0
TX0211ZZ | 0 | 1 | 0 | 0 | 1
TX0224ZZ | 0 | 1 | 0 | 0 | 1
TX0227AU | 0 | 0 | 0 | 0 | 0
TX0250AU | 0 | 0 | 0 | 0 | 0
TX0284DA | 0 | 0 | 0 | 0 | 0
TX0302ZZ | 0 | 1 | 0 | 0 | 0
TX0501HS | 0 | 0 | 0 | 0 | 0
UT0017ZZ | 0 | 1 | 0 | 1 | 1
UT0032ZZ | 1 | 1 | 0 | 1 | 1
WA0961KC | 1 | 1 | 0 | 0 | 1

## Slide 10
building | Domestic H2O Int gal | kWh Del Int | kWh del-rec Int | kWh Rec Int | Natural Gas Vol Int
WA0961KC | 1 | 1 | 0 | 0 | 1
WY0029ZZ | 0 | 1 | 0 | 0 | 1

## Slide 11: 2018 Rule data by building

## Slide 12
building | # rules | count | total cost | total duration | GSF
MD0278ZZ | 28 | 29,707 | 571,434.9 | 184,320.8 | 1,903,788.0
IN0048ZZ | 31 | 7,531 | 543,021.5 | 58,465.5 | 527,335.0
IN0133ZZ | 24 | 1,895 | 542,686.1 | 15,928.4 | 631,983.0
NY0128ZZ | 26 | 13,410 | 533,093.8 | 86,934.9 | 1,015,202.0
IL0032ZZ | 30 | 6,347 | 531,488.2 | 85,501.8 | 278,611.0
TX0250AU | 13 | 8,430 | 516,810.6 | 97,854.5 | 259,652.8
GA0010AE | 18 | 6,710 | 511,443.1 | 67,232.8 | 417,149.0
MI0029ZZ | 22 | 3,616 | 499,335.0 | 30,119.0 | 765,824.0
LA0085ZZ | 23 | 5,049 | 489,511.5 | 89,872.6 | 706,400.0
MA0131ZZ | 20 | 5,581 | 450,748.1 | 49,755.9 | 1,045,836.0
IL0205ZZ | 31 | 4,018 | 444,316.1 | 32,128.5 | 1,465,191.0
DC0084ZZ | 15 | 3,174 | 441,531.5 | 22,815.9 | 421,319.0

## Slide 13
building | # rules | count | total cost | total duration | GSF
DC0084ZZ | 15 | 3,174 | 441,531.5 | 22,815.9 | 421,319.0
TX0284DA | 26 | 3,268 | 387,365.6 | 25,379.4 | 1,055,995.9
TX0302ZZ | 13 | 3,408 | 385,600.6 | 35,505.0 | 558,200.0
OH0033ZZ | 9 | 2,255 | 355,650.7 | 16,623.6 | 227,221.0
DC0083ZZ | 15 | 2,149 | 331,980.4 | 14,420.2 | 1,111,139.0
OH0189CN | 19 | 1,594 | 330,730.5 | 17,188.8 | 790,947.0
GA1007ZZ | 15 | 4,174 | 321,168.3 | 31,672.0 | 2,407,916.0
CO0009ZZ | 29 | 3,622 | 271,655.3 | 45,570.6 | 269,946.0
CA0306ZZ | 32 | 3,817 | 256,153.2 | 24,637.0 | 773,987.0
PA0277BG | 1 | 338 | 250,972.0 | 8,112.0 | 841,279.5
MS0083ZZ | 28 | 6,421 | 248,303.9 | 39,462.1 | 445,829.0
AL0039AB | 28 | 2,302 | 215,618.5 | 37,733.0 | 115,014.0

## Slide 14
building | # rules | count | total cost | total duration | GSF
AL0039AB | 28 | 2,302 | 215,618.5 | 37,733.0 | 115,014.0
DC0021ZZ | 16 | 1,114 | 204,151.9 | 12,988.0 | 813,649.0
NM0061ZZ | 21 | 16,694 | 199,645.8 | 292,471.7 | 235,239.0
CO0054ZZ | 21 | 2,268 | 195,602.3 | 11,617.0 | 313,265.0
MO0050ZZ | 26 | 3,293 | 188,216.1 | 25,470.6 | 674,508.0
PA0278BG | 3 | 1,059 | 185,464.9 | 22,846.0 | 864,824.5
CO0061ZZ | 25 | 3,433 | 183,265.5 | 19,599.9 | 326,686.0
CA0154ZZ | 22 | 1,493 | 175,265.3 | 8,522.7 | 1,427,964.0
OH0028CN | 23 | 5,720 | 174,170.6 | 47,702.6 | 1,342,093.0
NY0300ZZ | 24 | 1,345 | 172,471.5 | 9,972.1 | 257,015.0
WY0029ZZ | 27 | 5,516 | 171,507.5 | 49,558.6 | 207,835.0
TX0211ZZ | 12 | 4,812 | 156,826.7 | 42,866.0 | 536,944.0

## Slide 15
building | # rules | count | total cost | total duration | GSF
TX0211ZZ | 12 | 4,812 | 156,826.7 | 42,866.0 | 536,944.0
TX0057ZZ | 25 | 2,812 | 150,553.4 | 18,882.5 | 254,768.0
NY0304ZZ | 21 | 6,524 | 149,932.4 | 55,368.5 | 250,781.0
NY0281ZZ | 30 | 2,295 | 148,045.3 | 16,869.5 | 379,016.0
MO0095ZZ | 26 | 2,782 | 147,228.2 | 15,743.7 | 1,310,875.0
FL0067ZZ | 13 | 2,188 | 138,892.2 | 24,387.0 | 334,195.0
CA0305ZZ | 21 | 1,643 | 130,534.9 | 11,422.6 | 639,677.0
TX0224ZZ | 26 | 2,118 | 124,936.2 | 9,480.2 | 766,954.0
IA0112ZZ | 23 | 973 | 123,039.1 | 5,030.7 | 405,238.0
AR0030RK | 25 | 2,110 | 104,674.4 | 16,308.4 | 283,398.0
TX0058DA | 12 | 2,022 | 100,547.0 | 15,989.2 | 393,692.9
OR0043ZZ | 20 | 1,111 | 85,079.6 | 4,866.2 | 536,673.0

## Slide 16
building | # rules | count | total cost | total duration | GSF
OR0043ZZ | 20 | 1,111 | 85,079.6 | 4,866.2 | 536,673
UT0017ZZ | 25 | 1,259 | 83,979.2 | 16,154.7 | 232,589
OH0194ZZ | 17 | 1,089 | 80,887.3 | 5,066.9 | 422,316
UT0032ZZ | 19 | 665 | 73,627.4 | 4,578.6 | 391,726
NM0050ZZ | 14 | 3,173 | 68,131.6 | 22,242.0 | 333,271
IA0121ZZ | 18 | 1,252 | 58,456.8 | 5,928.2 | 306,000
AL0076AB | 14 | 1,032 | 53,243.2 | 6,330.8 | 212,841
OR0052ZZ | 14 | 774 | 45,489.8 | 4,993.4 | 591,692
OR0033PE | 28 | 915 | 44,069.0 | 3,555.2 | 312,447
OK0101ZZ | 20 | 820 | 44,045.0 | 6,113.7 | 180,755
KS0094ZZ | 15 | 1,856 | 42,645.9 | 9,441.6 | 286,446
NE0531ZZ | 23 | 1,780 | 41,845.0 | 16,474.9 | 506,390

## Slide 17
building | # rules | count | total cost | total duration | GSF
NE0531ZZ | 23 | 1,780 | 41,845.0 | 16,474.9 | 506,390.0
ND0046ZZ | 4 | 514 | 40,201.4 | 4,347.5 | 271,034.0
MN0087ZZ | 13 | 488 | 40,138.9 | 2,654.5 | 403,399.0
OK0046CT | 22 | 1,864 | 39,908.9 | 11,027.6 | 221,497.0
CO0516AA | 22 | 840 | 39,766.3 | 4,232.9 | 498,259.5
WA0961KC | 22 | 773 | 39,497.5 | 3,953.0 | 190,521.0
OH0046ZZ | 25 | 1,184 | 36,269.8 | 4,824.0 | 282,896.0
ND0006ZZ | 5 | 489 | 36,174.5 | 8,350.2 | 228,380.0
AK0031AA | 7 | 95 | 32,021.0 | 833.4 | 727,343.0
TX0501HS | 21 | 1,464 | 29,645.5 | 5,254.9 | 180,230.0
NM0030ZZ | 18 | 329 | 24,915.0 | 2,242.7 | 365,196.0
NE0051ZZ | 19 | 376 | 20,886.0 | 4,414.4 | 428,932.0

## Slide 18
building | # rules | count | total cost | total duration | GSF
NE0051ZZ | 19 | 376 | 20,886.0 | 4,414.4 | 428,932.0
NE0036ZZ | 18 | 1,230 | 19,906.7 | 10,471.1 | 364,173.0
CA0096DD | 23 | 760 | 18,959.8 | 2,482.1 | 550,920.0
IL0235FC | 8 | 156 | 16,164.9 | 693.9 | 288,117.0
MA0153ZZ | 10 | 296 | 11,045.7 | 5,500.5 | 853,007.0
CA0091AA | 19 | 155 | 10,394.2 | 835.2 | 502,456.9
IL0303ZZ | 11 | 42 | 7,185.8 | 109.9 | 828,102.0

## Slide 19: top ranking rules based on three criteria

## Slide 20: 2018 Rule data top 10 by number of buildings affected
rule | # buildings | total GSF
AHU Cooling Valve Unstable | 72 | 46,765,722
AHU Discharge Temperature Setpoint Unreachable | 71 | 46,278,798
Pump Cycling | 65 | 41,517,253
AHU Cooling Failure | 63 | 42,808,050
AHU Damper Unstable | 63 | 40,481,802
AHU Excessive Discharge Fan Speed | 63 | 40,544,669
AHU Discharge Pressure Setpoint Unreachable | 62 | 42,395,674
AHU Heating Valve Unstable | 62 | 39,131,725
AHU Cooling Valve Leaking | 58 | 38,292,347
AHU Heating Failure | 58 | 38,281,574

## Slide 21: 2018 Rule data top 10 by total duration (hour)
rule | total duration | duration/GSF
Unoccupied Cooling Setpoint Out of Range | 1,732,170.11 | 0.0714612
Terminal Unit Airflow Setpoint Unreachable | 511,831.67 | 0.0190588
AHU Discharge Pressure Setpoint Unreachable | 236,682.69 | 0.0055827
AHU Discharge Temperature Setpoint Unreachable | 175,349.60 | 0.0037890
Occupied Zone Temperature Out of Range | 159,031.07 | 0.0050027
AHU Excessive Discharge Fan Speed | 144,380.12 | 0.0035610
AHU Discharge Fan Failure | 138,340.15 | 0.0034850
AHU Cooling Valve Leaking | 111,486.62 | 0.0029115
AHU Cooling Failure | 92,739.32 | 0.0021664
Occupied Cooling Setpoint Out of Range | 92,530.33 | 0.0144446

## Slide 22: Most affected buildings
building | name | rule | duration_hour | GSF | duration/GSF
NV0304ZZ | LLOYD D. GEORGE COURTHOUSE | Unoccupied Cooling Setpoint Out of Range | 997,776.0 | 454,895 | 2.2
NM0061ZZ | LAS CRUCES COURTHOUSE | Unoccupied Cooling Setpoint Out of Range | 241,541.0 | 235,239 | 1.0
OH0192ZZ | A J CELEBREZZE FB | Unoccupied Cooling Setpoint Out of Range | 150,358.5 | 1,471,286 | 0.1
NY0282ZZ | JACOB K. JAVITS FB/CIT | Unoccupied Cooling Setpoint Out of Range | 93,854.4 | 2,858,730 | 0.0
CA0167ZZ | EDWARD J. SCHWARTZ FOB & CTHS | Unoccupied Cooling Setpoint Out of Range | 55,392.7 | 895,248 | 0.1

## Slide 23
building | name | rule | duration_hour | GSF | duration/GSF
MD0278ZZ | NEW CARROLLTON FED | Terminal Unit Airflow Setpoint Unreachable | 94,043.4 | 1,903,788.0 | 0.0
IL0236FC | JOHN C. KLUCZYNSKI FED. BLDG. | Terminal Unit Airflow Setpoint Unreachable | 67,142.0 | 1,428,620.0 | 0.0
NC0002AE | VEACH-BALEY FEDERAL COMPLEX | Terminal Unit Airflow Setpoint Unreachable | 37,328.0 | 271,793.0 | 0.1
TX0250AU | HOMER THORNBERRY BLDG | Terminal Unit Airflow Setpoint Unreachable | 32,732.7 | 259,652.8 | 0.1
NY0128ZZ | FEDERAL BLDG-201 VA | Terminal Unit Airflow Setpoint Unreachable | 30,229.7 | 1,015,202.0 | 0.0

## Slide 24
building | name | rule | duration_hour | GSF | duration/GSF
NC0002AE | VEACH-BALEY FEDERAL COMPLEX | AHU Discharge Pressure Setpoint Unreachable | 49,682.2 | 271,793.0 | 0.2
LA0085ZZ | H BOGGS FED BLDG/COURTHOUSE | AHU Discharge Pressure Setpoint Unreachable | 21,728.5 | 706,400.0 | 0.0
NY0282ZZ | JACOB K. JAVITS FB/CIT | AHU Discharge Pressure Setpoint Unreachable | 19,058.3 | 2,858,730.0 | 0.0
TX0250AU | HOMER THORNBERRY BLDG | AHU Discharge Pressure Setpoint Unreachable | 17,496.0 | 259,652.8 | 0.1
NM0050ZZ | PETE DOMENICI COURTHOUSE | AHU Discharge Pressure Setpoint Unreachable | 12,529.5 | 333,271.0 | 0.0

## Slide 25
building | name | rule | duration_hour | GSF | duration/GSF
NC0002AE | VEACH-BALEY FEDERAL COMPLEX | AHU Discharge Temperature Setpoint Unreachable | 31,560.1 | 271,793 | 0.1
GA0010AE | IRS ANNEX | AHU Discharge Temperature Setpoint Unreachable | 13,850.4 | 417,149 | 0.0
TX0211ZZ | B CASEY COURTHOUSE | AHU Discharge Temperature Setpoint Unreachable | 13,780.2 | 536,944 | 0.0
GA1007ZZ | SAM NUNN ATLANTA FED. CTR. | AHU Discharge Temperature Setpoint Unreachable | 9,577.6 | 2,407,916 | 0.0
OH0192ZZ | A J CELEBREZZE FB | AHU Discharge Temperature Setpoint Unreachable | 7,537.5 | 1,471,286 | 0.0

## Slide 26
building | name | rule | duration_hour | GSF | duration/GSF
OH0028CN | POTTER STEWART U.S. COURTHOUSE | Occupied Zone Temperature Out of Range | 35,292.7 | 1,342,093 | 0.0
NY0304ZZ | KENNETH B KEATING FB | Occupied Zone Temperature Out of Range | 19,119.8 | 250,781 | 0.1
NC0002AE | VEACH-BALEY FEDERAL COMPLEX | Occupied Zone Temperature Out of Range | 14,301.4 | 271,793 | 0.1
WY0029ZZ | JOSEPH C O’MAHONEY FED CENTER | Occupied Zone Temperature Out of Range | 12,055.4 | 207,835 | 0.1
NE0036ZZ | HRUSKA US COURTHOUSE | Occupied Zone Temperature Out of Range | 7,709.9 | 364,173 | 0.0

## Slide 27: 2018 Rule data top 10 by highest cost
rule | total cost | cost/GSF
AHU Cooling Valve Leaking | 3,024,359 | 0.0789808
AHU Heating Valve Leaking | 2,525,791 | 0.0686301
Unoccupied Cooling Setpoint Out of Range | 2,141,762 | 0.0883590
AHU Discharge Pressure Setpoint Unreachable | 1,656,767 | 0.0390787
AHU Discharge Temperature Setpoint Unreachable | 1,584,112 | 0.0342298
Occupied Cooling Setpoint Out of Range | 1,529,597 | 0.2387806
AHU Cooling & Heating Simultaneously | 1,529,441 | 0.0688672
AHU Outside Damper Stuck Open | 1,477,591 | 0.0444099
Terminal Unit Airflow Setpoint Unreachable | 1,174,767 | 0.0437441
Chilled Water Pressure Setpoint Unreachable | 1,144,306 | 0.0534646

## Slide 28: Most affected buildings
building | name | rule | Cost | GSF | cost/GSF
DC1473SE | Douglas A. Munro | AHU Cooling Valve Leaking | 469,362.4 | 1,292,748.9 | 0.4
OH0192ZZ | A J CELEBREZZE FB | AHU Cooling Valve Leaking | 329,198.8 | 1,471,286.0 | 0.2
NY0282ZZ | JACOB K. JAVITS FB/CIT | AHU Cooling Valve Leaking | 306,838.5 | 2,858,730.0 | 0.1
TX0250AU | HOMER THORNBERRY BLDG | AHU Cooling Valve Leaking | 263,080.3 | 259,652.8 | 1.0
TN0088ZZ | CLIFFORD DAVIS-ODELL HORTON | AHU Cooling Valve Leaking | 220,700.1 | 442,195.0 | 0.5

## Slide 29
building | name | rule | Cost | GSF | cost/GSF
NY0282ZZ | JACOB K. JAVITS FB/CIT | AHU Heating Valve Leaking | 1,301,404.6 | 2,858,730 | 0.5
DC0083ZZ | ORVILLE WRIGHT | AHU Heating Valve Leaking | 191,572.0 | 1,111,139 | 0.2
MI0029ZZ | THEODORE LEVIN US COURTHOUSE | AHU Heating Valve Leaking | 152,432.9 | 765,824 | 0.2
IN1703ZZ | MAJOR GENERAL EMMETT J. BEAN | AHU Heating Valve Leaking | 126,203.1 | 1,660,239 | 0.1
TN0088ZZ | CLIFFORD DAVIS-ODELL HORTON | AHU Heating Valve Leaking | 116,934.4 | 442,195 | 0.3

## Slide 30
building | name | rule | Cost | GSF | cost/GSF
CA0167ZZ | EDWARD J. SCHWARTZ FOB & CTHS | Unoccupied Cooling Setpoint Out of Range | 836,808.0 | 895,248 | 0.9
NV0304ZZ | LLOYD D. GEORGE COURTHOUSE | Unoccupied Cooling Setpoint Out of Range | 575,809.4 | 454,895 | 1.3
NC0002AE | VEACH-BALEY FEDERAL COMPLEX | Unoccupied Cooling Setpoint Out of Range | 235,980.0 | 271,793 | 0.9
AL0039AB | JOHN A CAMPBELL USCT | Unoccupied Cooling Setpoint Out of Range | 145,321.3 | 115,014 | 1.3
NM0061ZZ | LAS CRUCES COURTHOUSE | Unoccupied Cooling Setpoint Out of Range | 61,994.1 | 235,239 | 0.3

## Slide 31
building | name | rule | Cost | GSF | cost/GSF
NC0002AE | VEACH-BALEY FEDERAL COMPLEX | AHU Discharge Pressure Setpoint Unreachable | 236,885.5 | 271,793.0 | 0.9
NY0282ZZ | JACOB K. JAVITS FB/CIT | AHU Discharge Pressure Setpoint Unreachable | 232,260.8 | 2,858,730.0 | 0.1
LA0085ZZ | H BOGGS FED BLDG/COURTHOUSE | AHU Discharge Pressure Setpoint Unreachable | 135,045.9 | 706,400.0 | 0.2
FL0067ZZ | CHAS. E. BENNETT FB | AHU Discharge Pressure Setpoint Unreachable | 71,175.5 | 334,195.0 | 0.2
TX0250AU | HOMER THORNBERRY BLDG | AHU Discharge Pressure Setpoint Unreachable | 67,974.5 | 259,652.8 | 0.3

## Slide 32
building | name | rule | Cost | GSF | cost/GSF
OH0192ZZ | A J CELEBREZZE FB | AHU Discharge Temperature Setpoint Unreachable | 245,889.4 | 1,471,286 | 0.2
NC0002AE | VEACH-BALEY FEDERAL COMPLEX | AHU Discharge Temperature Setpoint Unreachable | 164,412.3 | 271,793 | 0.6
GA1007ZZ | SAM NUNN ATLANTA FED. CTR. | AHU Discharge Temperature Setpoint Unreachable | 76,752.7 | 2,407,916 | 0.0
IN1703ZZ | MAJOR GENERAL EMMETT J. BEAN | AHU Discharge Temperature Setpoint Unreachable | 67,084.3 | 1,660,239 | 0.0
TX0211ZZ | B CASEY COURTHOUSE | AHU Discharge Temperature Setpoint Unreachable | 54,192.7 | 536,944 | 0.1

## Slide 33: Rankings excluding sensor or data related rules: “Missing Data”, “Sensor Out Of Range”, “Sensor Failure”, and “Bad Energy Data”

## Slide 34: 2018 Rule data top 10 by number of buildings affected
rule | # buildings | total GSF
AHU Cooling Valve Unstable | 72 | 46,765,722
AHU Discharge Temperature Setpoint Unreachable | 71 | 46,278,798
Pump Cycling | 65 | 41,517,253
AHU Cooling Failure | 63 | 42,808,050
AHU Damper Unstable | 63 | 40,481,802
AHU Excessive Discharge Fan Speed | 63 | 40,544,669
AHU Discharge Pressure Setpoint Unreachable | 62 | 42,395,674
AHU Heating Valve Unstable | 62 | 39,131,725
AHU Cooling Valve Leaking | 58 | 38,292,347
AHU Heating Failure | 58 | 38,281,574

## Slide 35: 2018 Rule data top 10 by total duration (excluding data error)
rule | total duration | duration/GSF
Unoccupied Cooling Setpoint Out of Range | 1,732,170.11 | 0.0714612
Terminal Unit Airflow Setpoint Unreachable | 511,831.67 | 0.0190588
AHU Discharge Pressure Setpoint Unreachable | 236,682.69 | 0.0055827
AHU Discharge Temperature Setpoint Unreachable | 175,349.60 | 0.0037890
Occupied Zone Temperature Out of Range | 159,031.07 | 0.0050027
AHU Excessive Discharge Fan Speed | 144,380.12 | 0.0035610
AHU Discharge Fan Failure | 138,340.15 | 0.0034850
AHU Cooling Valve Leaking | 111,486.62 | 0.0029115
AHU Cooling Failure | 92,739.32 | 0.0021664
Occupied Cooling Setpoint Out of Range | 92,530.33 | 0.0144446

## Slide 36: 2018 Rule data top 10 by highest cost (excluding data error)
rule | total cost | cost/GSF
AHU Cooling Valve Leaking | 3,024,359 | 0.0789808
AHU Heating Valve Leaking | 2,525,791 | 0.0686301
Unoccupied Cooling Setpoint Out of Range | 2,141,762 | 0.0883590
AHU Discharge Pressure Setpoint Unreachable | 1,656,767 | 0.0390787
AHU Discharge Temperature Setpoint Unreachable | 1,584,112 | 0.0342298
Occupied Cooling Setpoint Out of Range | 1,529,597 | 0.2387806
AHU Cooling & Heating Simultaneously | 1,529,441 | 0.0688672
AHU Outside Damper Stuck Open | 1,477,591 | 0.0444099
Terminal Unit Airflow Setpoint Unreachable | 1,174,767 | 0.0437441
Chilled Water Pressure Setpoint Unreachable | 1,144,306 | 0.0534646