Jan 25 meeting prepare

Yujie Xu

1/25/2019

## energy and spark on/off for 10 top buildings with “unoccupied cooling setpoint out of range” by energy cost

The buildings with highest energy cost estimate for “Unoccupied Cooling Setpoint Out of Range” are:

## [1] "CA0167ZZ" "NV0304ZZ" "NC0002AE" "AL0039AB" "TX0302ZZ" "OH0192ZZ"  
## [7] "IN0048ZZ" "IN0133ZZ" "GA1007ZZ" "UT0017ZZ"

Following plots individual building’s rule and energy.

